Linearizing gene-targeting (knockout or knockin) constructs

for electroporation into ES cells

Modified, from Kayoko Kimbara, Ginsberg Lab UCSD, August 2004

Updated by Aurora Connor, Preclinical Modeling Core at MIT, Nov 2022

Isolate enough targeting vector/plasmid:

To get about 150ug of construct (plenty):

Culture 250mL of bacteria (LB/Amp or other selective drug)

Purify plasmid DNA by Qiagen Maxi Kit (cat# 12162) or similar kit such as Machery-Nagel midi kit from Takara

It does not need to be endotoxin-free

The final size of the plasmid is often over 20-kb, and to get a good yield from the Qiagen prep, you’ll need to modify the P1 solution before use as follows:

-add glucose (final amount in P1 solution 1% i.e. 1 gram/100mls)

-add lysozyme (final amount in P1 solution 5mg/ml)

1. Digest 150ug plasmid –Begin by taking 2uL of your prep and saving it in a tube to run on a gel as comparison to your linear DNA later.  Take 2ul more and measure DNA concentration (instructions for this are provided at the end of this document.)  Based on this measurement, place 50ug/tube for a total of 3-8 tubes. You do not need to remove the bacterial vector backbone – just one cut to linearize is fine. You must use tubes that are OK with Phenol/Chloroform.  Some tubes will melt with these solvents

The KI Preclinical Modeling Core needs 80-100ug, so starting with 150ug in 3 tubes will be fine.

50 ug	construct DNA

30 ul	appropriate Buffer

5 ul	Enzyme (if using standard NEB:20 units/ul)

+ water---Total 300 ul/tube

2. Mix well and incubate them for 4hrs-ON at 37°C

3. Run an agarose gel with 2ul from each tube and the 2ul of uncut DNA you saved to make sure that the digestion is completed

4. Purify the remaining 298ul of linearized DNA

a. Add 300ul Phenol/Chloroform(isoamyl alcohol ok, such as MilliporeSigma: 77617-100ML  or ThermoFisher 15593031 ) to each tube and shake gently

b. Spin tubes on max speed for 15-30 sec.

c. Carefully transfer the upper (aqueous) phase to a fresh tube

d. Repeat steps a-c

(Start using a cell culture hood)

e. Estimate the volume of the aqueous DNA solution and add 1/10th volume

3M sodium acetate (pH 5.2). This gives a final concentration of

~0.25M NaOAc.  Mix well by shaking (not vortexing).

g. Add 2 volumes of ice-cold 100% ethanol.  Mix well (no vortexing) and

chill to -20°C for 1hr+ (overnight is fine)

h. Centrifuge at 4°C for 15min at max speed

i. Wash DNA pellet (may be glassy or cloudy) with 1ml 70-80% ethanol twice.

5. Give DNA in 1ml 70-80% ethanol (per tube) to the Preclinical Modeling Core, labeling with construct name, date, and the approximate ug of DNA in each tube (usually 40ug if you started with 50ug).  If you started with more than 50ug of DNA per tube, be sure to note that on the tube.

Do not forget other required items (map, picture of gel showing linearization, schematic of your PCR screening strategy, acceptance of charges in iLabs.)

Using the Spectrometer to calculate the concentration of your DNA:

(Note, you can also use a NanoVue or NanoDrop)

Set spec to 260

Use a quartz cuvette, and get baseline standard of water alone

Create a 1 to 50 dilution of your plasmid in water

Usually these cuvettes hold 100ul, so 2uL plasmid in 98uL water

Run your sample.  The reading should be between 0.200 and 0.500 to be linear for calculations.  You may need to run another sample that is more or less dilute to get to within this range.

Now, calculate the concentration

DNA concentration (ug/mL) = Dilution factor  x  OD260  x  50

(…50 is a constant for the calculation.  It has nothing to do with the fact that I suggested a 1 to 50 dilution above.)

For example, if you did a 1 to 50 dilution and got a reading of 0.256, then

50 x 0.256 x 50 = 640ug/mL

If your DNA is in 100uL (one-tenth of a mL), then you have about 64ug in the tube.

If your DNA is in 50uL (one-twentieth of a mL), then you have about 128ug in the tube.

To see more on using UV absorption to calculate DNA concentration, try

http://matcmadison.edu/biotech/resources/methods/labManual/unit_4/exercise_15.htm